## Tools
Package-I: Tools and Equipments
SL | Description | UoM | Qty | Rate | Amount
1 | Safety Belt with Lanyard: Work Positioning Belt. Karam PN-01; Karam Work Positioning Lanyard with Grip Adjuster PN-242. | Nos | 92
2 | Telescope Ladder, 7mtrs, Aluminium; Dim:49Wx700Hcm; Foldable; Load capacity-250kg | Nos | 2
3 | Car Inverter | Nos | 2
4 | Pully | Nos | 4
5 | Digital Compass | Nos | 3
6 | Handrill- Bosch-Cordless | Nos | 2
7 | Drilling Machine- Bosch | Nos | 2
8 | Sliding ladder- Alluminiun sliding poratble 2.6 meters | Nos | 3
9 | Proskit tool PK-1938M3 | Nos | 2
10 | UNI-T UT203+ Digital Clamp Meter 400A AC/DC True | Nos | 18
11 | Inverter (48V to 230V) | Nos | 5
12 | Screw Driver | Nos | 9
13 | Combination Spanner Wrench set | Nos | 2
14 | Helmet | Nos | 113
15 | Combination plier | Nos | 5
16 | Philips Blaze Rechargeable LED Light, Multi-Functional Long Range Handheld Light with Powerful Beam and Emergency Mode, Durable Black | Nos | 4
17 | Tool bag | Nos | 5
18 | Screw Driver Heavy Duty Dual (+ -) | Nos | 4
19 | Adjustable Wrench | Nos | 4
20 | Wrench Set | Nos | 2
21 | Tool Kit | Nos | 1
22 | Safety Cone | Nos | 10
23 | Reflector Vest | Nos | 8
24 | Hammer | Nos | 4
25 | High Definition Core Aligning fusion Splicer, TYPE-82C+ Brand Sumitomo | Nos | 2
26 | AFL OTDR Kit, 1310/1550nm, FS200-100, FlexScan OTDR, VFL, UPC, Basic Kit | Nos | 2
Total Amount in Nu
Note to the Bidder
1 | Bidders are allowed to quote for equivalet brands. It should meet the given specifications.

## Power
Package-II: Power Utility & AC Equipment
SL | Description | UoM | Qty | Rate | Amount | Remark
1 | 2 KVA online double conversion tower UPS. Preffered Brand name: Xtreme Power Conversion, APC, Certa UPS, Eaton, Riello, Tecnoware. OR any equivalent brand meeting the specification. | Nos | 31 |  |  | Detail Specification Attached.
2 | UPS Battery with connecting cables, 12V, 100AH, SMF, VRLA battery black. Preferred Brand: Exide, Powersafe. OR Any equivalent brand meeting the given specification. | Nos | 124 |  |  | Detail Specification Attached.
3 | 120AH DEG Starting Batteries, Sealed Lead Acid (SLA), Maintenance Free. Preferred brands; Exide Power Safe Plus, sealed lead acid battery. OR any equivalent brand meeting the specification. | Nos | 20 |  |  | Detail Specification Attached.
4 | 10 KVA Kirloskar Single Phase DEG. | Nos | 2 |  |  | Detail Specification Attached.
5 | 25 KVA Kirloskar Single Phase DEG | Nos | 1 |  |  | Detail Specification Attached.
6 | DEG run hour meter, anologe | Nos | 10 |  |  | Detail Specification Attached.
7 | Piston for Upgraded tie-2 1No. (P/No. 02.443.07.0.00) | Nos | 10 |  |  | Detail Specification Attached.
8 | Cylinder Head Assembly (COMPLETE) (P/No. 04.684.70.0.00) | Nos | 6 |  |  | Detail Specification Attached.
9 | Fuel Pump 4% Governing (with LLA LLR) S/F Pump Mounted Stop Solenoid and C Type stop Lever (P/No. Group:- 02.480.2) | Nos | 2 |  |  | Detail Specification Attached.
10 | Injector with Conical SAC ‘S’ Type Nozzel (BOSCH Number:- E080176100 (P/No. 02.030.03.0.00) | Nos | 4 |  |  | Detail Specification Attached.
11 | Washer for HA294 S Type Injector (Thickness:- 3MM (P/No. 04.295.03.0.00) | Nos | 4 |  |  | Detail Specification Attached.
12 | Cylinder Liner (P/No. 02.019.04.0.00) | Nos | 4 |  |  | Detail Specification Attached.
13 | Set of H.P Pipe HA294SR 2, CPCB (P/No. 02.619.04.0.00) | Nos | 2 |  |  | Detail Specification Attached.
14 | Leak Off Pipe (INDUSTRIAL) P/No. GROUP:- 02.088) | Nos | 2 |  |  | Detail Specification Attached.
15 | Leak Off Connector (P/No. GROUP:- 02.216 | Nos | 2 |  |  | Detail Specification Attached.
16 | Valve Mechanism Suitable for 30 Degree C (P/No. GROUP:- 02.024) | Nos | 6 |  |  | Detail Specification Attached.
17 | Alternator Bracket & Mounting (P/No. GROUP:- 02.1035.1) | Nos | 1 |  |  | Detail Specification Attached.
18 | Belt (AVX 10 1500) SPZ (P/No. 02.1266.01.0.00) | Nos | 5 |  |  | Detail Specification Attached.
19 | 1.5 Ton Split Type Air Conditioners, R-32, including the mounting brackets/kits for ODU and IDU. The tubing materials between IDU and ODU should be of complete coppers Brand perfered: LG | Nos | 36 |  |  | Detail Specification Attached.
20 | Free cooling unit (Ventilation), 48 volts DC operating system. The controller should be able to control the operation between FCU and Air Conditioner based on the present value (Above 18 Deg C to 25 Deg C Ventilation should operate and when the temperature goes above 26 Deg C AC should start, and vice versa). The set includes an additional 3 sets of filters for both In-house and Exhaust units. Brand preferred: Icon/BSMC/Any Equivalent brand | Nos | 4 |  |  | Detail Specification Attached.
21 | 1.1 kV, unarmoured, inner sheathed, 2*50 sqmm aluminum ABC Cabls, without messenger wire, XLPE insulation, nominal thickness 0f 1.4mm, nos of strand-6, minimum inner shealthed thickness 0.30 mm, nominal outer sheath thickness 2.00 mm. The cable should be based on Bhutan Power Corporation Limited Standard with product test report (Should have UV Test result as well). Each drum should consist of 500 meter | Meter | 8000 |  |  | Detail Specification Attached.
22 | 35 sqmm UD Cable, Armoured, Aluminum Core. The cable should be based on Bhutan Power Corporation Limited's standard, with a product test report (should have UV Test result as well). Each drum should consit of 500 Meter | Meter | 1500 |  |  | Detail Specification Attached.
23 | 7.5m GI Steel Tubular Pole with three 18mm dia holes. Should be Galvanized. | Nos | 170 |  |  | Detail Specification Attached.
24 | I-Hook (m16). | Nos | 100 |  |  | Detail Specification Attached.
25 | Suspension clamp (SPC) for ABC bundle conductor line. Clamp for hanging ABC cable. Cable size 2x (50-150)sq mm Brand Preferable : BPC Standards | Nos | 50 |  |  | Detail Specification Attached.
26 | Dead End Clamp/Low voltage tension clamp. | Nos | 130 |  |  | Detail Specification Attached.
27 | Stay Set Stay Set to support electric Pole, Galvanized (Should include Anchor Plate, Anchor Rod, Turn Buckle Bow, Eye Bolt Rod, Stay Set Pole Clamp) | Nos | 60 |  |  | Detail Specification Attached.
28 | Stay Wire, 16mm for LT, Galvanized, ISO9001 | Meter | 500 |  |  | Detail Specification Attached.
29 | ESE Lightning Protection System including Earthing Sytem. Should include all necessary parts in a set. | Set | 10 |  |  | Detail Specification Attached.
30 | Auto phase sequence corrector for PAC Units. Brand Icon | Nos | 6
31 | Refrigerant Gas (R-32) | Kg | 50
32 | Refrigerant Gas (R-410) | Kg | 100
33 | Refrigerant Gas (R-407) | Kg | 100
34 | Refrigerant Gas (R-209) | Kg | 100
Total Amount in Nu
Note to the Bidder
1 | Bidders are allowed to quote for equivalet brands. It should meet the given specifications.

## Fiber and Accesoories
Package-III, Fiber Cable and Accessories
SL | Description | UoM | Qty | Rate | Amount
1 | 24F, Non-Metallic, Anti Rodent, Single Mode, Fiber Cable | Meter | 10000
2 | ADSS 24F SM Fiber Optic Cable, 2000m span, G.652D, Singlemode fiber cable, 12mm dia | Meter | 46000
3 | ADSS 48F SM Fiber Optic Cable, 200m span, G.652D, Singlemode fiber cable, 12mm dia | Meter | 22000
4 | 48F Without Armoured UG Fiber Cable, Single Mode, 14mm OD | Meter | 8000
5 | 24F Without Armoured UG Fiber Cable, Single Mode, 14mm OD | Meter | 4000
6 | UG Fiber cable SM, 96 cores, G652D, Dia.14.5mm, 12C per tube | Meter | 10000
7 | UG Fiber cable SM, 12 cores, G652D | Meter | 10000
8 | Non-Metallic Drop Cable, 12F, SM Fiber Cable | Meter | 6000
9 | ADSS Fiber Cross Arm or Storage Bracket (in a set), | Set | 100
10 | ADSS Suspension Assembly with Pole Clamp ( in a set), | Set | 2000
11 | Terminating Helix with complete accessories for 11-13mm Cable Dia | Nos | 2000
12 | Terminating Helix Set for 14.3-15.3mm Cable Dia | Nos | 2000
13 | ADSS Fiber Spiral Vibration Damper for cable diameter of 11-13mm | Nos | 2000
14 | ADSS Fiber Spiral Vibration Damper for cable diameter of 14.3-15.3mm | Nos | 2000
15 | Downward Lead Clamp | Nos | 1000
16 | Binding Wire (aluminium) | Meter | 2000
17 | Spiral Cable Wire Wrap Cord Organizer Protection Sleeve for fiber patch cords 12mm dia | Meter | 300
18 | Fiber Optic Join Enclosure Cylinder Type(96core) Capacity :96 core (8 Pcs ,Splice tray ,12 cores Splice ), Cable entry points:4 pcs for express/cascade cable(Φ 8 mm-Φ 16 mm).Size: 526mm×Φ235mm, | Nos | 110
19 | Dome fiber optic splice closure with 4 splice tray cable ports-4. Cable port dia 6-8mm | Nos | 1000
20 | Terminal Box Indoor 19inch rack drawer, 12 Ports Duplex, 1U | Nos | 60
21 | Terminal Box Indoor 19inch rack drawer, 24 ports Duplex, 1U | Nos | 30
22 | Terminal Box Indoor 19inch rack drawer, 48 ports Duplex, 2U | Nos | 30
23 | 1U 19'' rack mount cable manager | Nos | 20
24 | FODB, 12 Port 19" rack mountable with loaded pigtail and adapters, SC/UPC | Nos | 50
25 | FODB, 24 Port 19" rack mountable with loaded pigtail and adapters, SC/UPC | Nos | 50
26 | FODB, 96 Port 19" rack mountable with loaded pigtail and adapters, SC/UPC | Nos | 5
27 | Fiber outdoor Distribution cabinet with 384 fiber splicing trays. For splicing, distribution, and storage of optical fibers. Cabinets can be installed on the ground as well on pole or wall. | Nos | 10
28 | LC-LC Duplex Single Patch fiber Optic Patch Cord, 0.5m | Nos | 25
29 | LC-LC Duplex Single Patch fiber Optic Patch Cord, 2m | Nos | 225
30 | LC-LC Duplex Single Patch fiber Optic Patch Cord, 5m | Nos | 125
31 | LC-LC Duplex Single Patch fiber Optic Patch Cord, 10m | Nos | 75
32 | LC-FC Duplex Single Patch fiber Optic Patch Cord, 5m | Nos | 50
33 | LC-FC Duplex Single Patch fiber Optic Patch Cord, 10m | Nos | 50
34 | LC-SC Duplex Single Patch fiber Optic Patch Cord, 0.5m | Nos | 25
35 | LC-SC Duplex Single Patch fiber Optic Patch Cord, 2m | Nos | 125
36 | LC-SC Duplex Single Patch fiber Optic Patch Cord, 5m | Nos | 75
37 | LC-SC Duplex Single Patch fiber Optic Patch Cord, 10m | Nos | 75
38 | SC-SC Duplex Single Patch fiber Optic Patch Cord, 0.5m | Nos | 25
39 | SC-SC Duplex Single Patch fiber Optic Patch Cord, 2m | Nos | 25
40 | SC-SC Duplex Single Patch fiber Optic Patch Cord, 5m | Nos | 25
41 | SC-SC Duplex Single Patch fiber Optic Patch Cord, 10m | Nos | 25
42 | SC-FC Duplex Single Patch fiber Optic Patch Cord, 0.5M | Nos | 25
43 | SC-FC Duplex Single Patch fiber Optic Patch Cord, 2M | Nos | 25
44 | SC-FC Duplex Single Patch fiber Optic Patch Cord, 5M | Nos | 25
45 | SC-FC Duplex Single Patch fiber Optic Patch Cord, 10m | Nos | 25
46 | Transceiver 100G | Nos | 2
47 | Transceiver 10G | Nos | 20
48 | Transceiver 10G Bidi | Nos | 20
49 | Transceiver 1G | Nos | 10
Total Amount in Nu
Note to the Bidder:
1 | For sample, bidders will be notified separately.
2 | A comprehensive testing will be done after the completion of production & before dispatch of goods. Eg- Factory Acceptance Test & Internal Test Report
3 | With Bid, submit Type Test Certificate

## Office Equipment
Package-IV: Office Equipment
SL | Description | UoM | Qty | Rate | Amount
1 | HP Laserjet Pro MFP 3101 | Nos | 1
2 | HP Laserjet Pro4001dn Printer | Nos | 7
3 | Grand stream (IP Phone) Snom D140/D150 GRP2601P | Nos | 10
4 | Water Dispenser | Nos | 9
5 | Portable Digital Signage Stand | Nos | 10
6 | Zeko Heater | Nos | 3
7 | Hard Disk for CC Camera 2 TB | Nos | 2
8 | 16'' Electric wall fan with double pull cord | Nos | 2
9 | 16'' Pedestal Fan (Stand Fan) | Nos | 2
Total Amount in Nu
Note to the Bidder
1 | Bidders are allowed to quote for equivalet brands. It should meet the given specifications.

## Furniture and Fixtures
Package-V: Furniture & Fixtures
SL | Description | UoM | Qty | Rate | Amount
1 | Featherlite Cupbooard | Nos | 1
2 | Revolving Chair | Nos | 10
3 | Visitor Chair | Nos | 2
4 | Steel Almirah Large/Locker | Nos | 3
5 | Ergonomic Chair | Nos | 1
Total Amount in Nu
Note to the Bidder
1 | Bidders are allowed to quote for equivalet brands. It should meet the given specifications.
Note on C10: Author: Budget approved for revolving chair 2 nos

## Other Consumable Items
Package-VI: Other Consumable Items
SL | Description | UoM | Qty | Rate | Amount
1 | Rope | Meter | 500
2 | 1/2 tent | Nos | 4
3 | 4 men A-shape tent | Nos | 5
4 | HDPE Pipe 25mm 100m PN 12.5 | Roll | 10
5 | HDPE Pipe 32mm 100m PN 12.5 | Roll | 20
6 | HDPE Pipe 50mm 100m PN 12.5 | Roll | 5
7 | GI Pipe | Nos | 5
Total Amount in Nu
Note to the Bidder
1 | Bidders are allowed to quote for equivalet brands. It should meet the given specifications.